Single Anchor Plate (304 Stainless Steel)

| PRODUCT NAME | Stainless Steel Single Anchor Plate (304 Stainless Steel) |  |
| --- | --- | --- |
| PRODUCT CODE | DEC-AP-M10-304 |  |
| PRODUCT CATEGORY | Horizontal Lifeline Component |  |
| MATERIAL | Marine Grade SS316 Stainless Steel |  |
| PRODUCT DESCRIPTION |  |  |
| This stainless-steel single anchor plate is manufactured from corrosion-resistant 304 stainless steel and is designed as a permanent or semi-permanent anchorage component for fall protection and rope access systems. The smooth rounded profile minimizes connector wear while providing a strong, reliable attachment point when installed by a competent person. |  |  |

| KEY FEATURES |  | APPLICATIONS |
| --- | --- | --- |
|  | Marine Grade SS316 Stainless Steel | - Horizontal Lifeline Systems |
|  | Excellent Corrosion Resistance | - Roof Safety Systems |
|  | Adjustable Cable Tension | - Industrial Structure |
|  | Easy Installation | - Mining Facilities |
|  | Suitable for Permanent Lifeline Systems | - Telecommunications Towers |
|  | Low Maintenance Design | - Solar Panel Installations |
|  |  | - Rope Access Safety Systems |

| TECHNICAL SPECIFICATIONS |  |  |  |
| --- | --- | --- | --- |
| SPECIFICATION | VALUE | SPECIFICATION | VALUE |
| Material | SS316 Stainless Steel | Weight | Editable |
| Finish | Polished | Working Load Limit (WLL) | 8 - 12 kN |
| Thread Type | Metric | Static Load Test | 20 kN |
| Thread Size | M14 | Dynamic Load Test | 15 kN |
| Overall Length | 320mm | Ultimate Failure Load | 50 kN |
| Adjustment Range | 430mm | Safety Factor | 5:1 |
| Jaw Width | 25mm |  |  |
| Pin Diameter | 12mm |  |  |

| COMPLIANCE & STANDARDS |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| This product is manufactured and tested in accordance with international and South African standard including. |  |  |  |  |  |  |  |
| EN 795 | EN 353 | EN 362 | SANS 50353 |  | SANS 50795 | SANS 795 | ISO 9001 |
| Personal Fall Protection Anchor Devices | Guided Type Fall Attachment | Connectors for Personal Protection Equipment | Personal Fall Protection Anchor Devices |  | Anchor Device | Fall Protection Anchor Devices | Quality Management Manufacturing Systems |
| INSTALLATION REQUIREMENTS |  |  |  |  |  |  |  |
| - Installation in accordance with applicable engineering designs and specification. - Horizontal lifeline range is based on the sound engineer principles. - Ensure correct wire cable fusion to anchor point. - Use Calibrated installation tools. - Users must be competent prefer trained personal. - Inspect all connections before system commissioning. |  |  |  |  |  |  |  |

| INSPECTION & MAINTENANCE |  |  |  | COMPATIBLE COMPONENTS |  |
| --- | --- | --- | --- | --- | --- |
| INSPECTION ITEM | FREQUENCY |  |  |  | 8mm Stainless Steel |
| - Visual Inspection - Competent Person Inspection - Deformation Inspection - Corrosion Inspection - Pull Test Certification - Replacement If Damaged | Monthly Annually Annually Annually Annually Immediate |  |  |  | Base Plate Attachment with Fasteners |
|  |  |  |  |  | Turnbuckle |
|  |  |  |  |  | Shock Absorber |
|  |  |  |  |  | Intermediate Anchor Post |
|  |  |  |  |  | Cable Guides |
| SAFETY INFORMATION |  |  |  |  | End Anchor Attachment |
| - Intended for fall prevention systems only. - Not designed for lifting applications. - Do not exceed system design loads. - Use approved fall arrest PPE. - Follow manufactured installation procedure. - Remove from service immediately if damaged or deteriorated, or excessive corrosion is detected. |  |  |  |  | Lifeline Shuttles |